## Assumptions
ASSUMPTIONS
TECHNICAL ASSUMPTIONS: | 1999 PROJECTS |  |  | 2000 PROJECTS |  |  | GENCO
| Brownsville | Caledonia | New Albany | Gleason | Wheatland | Wilton
Number of Turbines | 4 | 6 | 6 | 3 | 4 | 8 | 31
Commercial Operation Date | 1999-06-15 | 1999-06-15 | 1999-07-01 | 2000-06-01 | 2000-06-01 | 2000-06-01
ISO Capacity (MW) | 492 | 498 | 391 | 533 | 503 | 650 | 3067
Gross Summer Capacity (June - Sept) (MW) | 450 | 440 | 355 | 500 | 465 | 600 | 2810
Summer Availability | 95% | 95% | 95% | 95% | 95% | 95% | 0.95
Net Summer Capacity (MW) | 427.5 | 418 | 337.25 | 475 | 441.75 | 570 | 2669.5
Gross Shoulder Capacity (Apr, May, Oct) (MW) | 450 | 440 | 355 | 500 | 465 | 600 | 2810
Shoulder Availability | 75% | 75% | 75% | 75% | 75% | 75% | 0.75
Net Summer Capacity (MW) | 337.5 | 330 | 266.25 | 375 | 348.75 | 450 | 2107.5
Gross Winter Capacity (Nov - Mar) (MW) | 510 | 535 | 455 | 555 | 525 | 690 | 3270
Winter Availability | 75% | 75% | 75% | 75% | 75% | 75% | 0.75
Net Winter Capacity (MW) | 382.5 | 401.25 | 341.25 | 416.25 | 393.75 | 517.5 | 2452.5
Weighted Average Capacity Per Year | 386.25 | 389.0208 | 321.1667 | 425.5208 | 398.5 | 518.125 | 2438.5833
Heat Rate (Btu/kWh) | 11800 | 12200 | 12200 | 10600 | 11700 | 12200 | 11775.7441
Annual Operating Hours | 1365 | 1685 | 1086 | 915 | 902 | 3250 | 9203
Annual Generation (MWh) | 527231.25 | 655500.1042 | 348787 | 389351.5625 | 359447 | 1683906.25 | 3964223.1667
Number of Starts per year | 75 | 75 | 75 | 75 | 75 | 75 | 75
Operating Costs (Annualized 2000$) | Brownsville | Caledonia | New Albany | Gleason | Wheatland | Wilton
Annual Escalator | 3% | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 3%
Mobilization | 0 | 0 | 0 | 1448.6417 | 1580.424 | 1471.68 | 823.7325
Fixed Operation & Maintenance | 1563.6315 | 1721.302 | 1878.0666 | 1242.4817 | 1515.7903 | 1448.5406 | 1541.8857
Variable Operation & Maintenance | 426.3631 | 249.3288 | 224.7381 | 375.12 | 446.16 | 528 | 387.455
Major Maintenance & Ongoing Capex | 1000 | 1006 | 1000 | 1028.5714 | 1028.5714 | 1028.5714 | 1016.6823
O&M Management Fee | 207.019 | 207.019 | 207.019 | 342.8571 | 342.8571 | 342.8571 | 281.7815
Owner's Expense | 431.7852 | 410.9307 | 362.6722 | 322.2511 | 306.2677 | 400.6471 | 373.1156
Property Taxes (Not Escalated) | 250 | 591.2 | 488.8 | 158.1 | 174.2349 | 572.0571 | 375.8914
Total | 3878.7987 | 4185.7805 | 4161.2959 | 4918.0231 | 5394.3054 | 5792.3534 | 4800.544
Note on J12: Suggested Repair:SUM(E12,D12,C12,F12,G12,H12,B12) Suggested Value:5.7
Note on J16: Suggested Repair:SUM(E16,D16,C16,F16,G16,H16,B16) Suggested Value:4.5
Note on J20: Suggested Repair:SUM(E20,D20,C20,F20,G20,H20,B20) Suggested Value:4.5
Note on J28: Suggested Repair:SUM(E28,D28,C28,F28,G28,H28,B28) Suggested Value:450.0

## 99 Acct Sumry
GENCO '99 Peakers LLC
Expense Analysis Summary
Summary
2000-03-31
'99 Peakers
|  | Brownsville | Caledonia | New Albany
Source: 99 O&M analysis - 0001.xls
Mobilization |  | 0 | 0 | 0
Operations & Maintenance: | Classification
O&M Expenses
Fuel Handling Sstem (Gas) | Fixed | 7328 | 13504.04 | 7328
Feedwater System | Variable | 0 | 0 | 0
Air Pollution Control System | Fixed | 0 | 1413 | 15773.9
Combustion Air System | Fixed | 10028
Fire Protection System | Fixed | 3668 | 3811 | 7618
Demineralized Water System | Variable | 129514 | 67381 | 66156
Wastewater System | Fixed | 1156 | 1958 | 1156
Recirculating Water System | Fixed | 3856 | 3856 | 11572
Building Utilities & HVAC System | Fixed | 9507.94 | 11323 | 7917.6
Electrical Distribution System | Fixed | 18357.72 | 12670.33 | 28748.49
Steam Distribution System | Fixed | 0 | 11 | 0
Distributed Control System | Fixed | 9061.35 | 50100 | 50147
Plant Consumable Supplies | Fixed | 47513.43 | 50754.74 | 54828.14
Plant G&A | Fixed | 234983.05 | 271658.25 | 283341.74
Reimbursable Labor | Fixed | 723929.07 | 769874.32 | 1016310.71
Tools & Equipment | Fixed | 73629.04 | 38773.77 | 57229.72
Utilities | Fixed | 359412.87 | 449134.98 | 286787.9
Instrument/Service Air | Fixed | 1672 | 1166 | 1208
Gas T/G System | Variable | 235202.26 | 181947.83 | 158582.15
HRSG System | Variable | 61646.83 | 0 | 0
Other - Non-Scope Costs | Fixed | 59529 | 41293.53 | 48099.39
Subtotal Other O&M |  | 1989994.56 | 1970630.79 | 2102804.74
O&M Management Fee |  | 207019 | 207019 | 207019
Major Maintenance Accrual |  | 1000000 | 1006000 | 1000000
Subtotal - Oper & Maint Expense |  | 3197013.56 | 3183649.79 | 3309823.74
Owner's Expense:
Insurance | Owners | 284061 | 261456 | 270554
Property Taxes |  | 250000 | 591200 | 488800
Utilities | Owners | 0 | 0 | 0
Interconnection Fees | Owners | 68416.6667 | 68416.6667 | 68416.6667
Gas Pipeline Metering Cost | Owners | 20525 | 20525 | 20525
Misc | Owners | 58782.5 | 60533 | 3176.5
Franchise Taxes | Owners | 0 | 0 | 0
0
Subtotal - Owner's Expense |  | 681785.1667 | 1002130.6667 | 851472.1667
Total O&M excluding Capital Costs |  | 3878798.7267 | 4185780.4567 | 4161295.9067
Other Expense
Interest Expense |  | 0 | 0 | 0
Capital Charge, net of credit |  | 5447002.3959 | 6745353.2014 | 6706426.8651
Depreciation Expense |  | 3805252 | 4590793 | 4488989
Subtotal - Other Expense |  | 9252254.3959 | 11336146.2014 | 11195415.8651
Total O&M |  | 13131053.1226 | 15521926.6581 | 15356711.7718
| Check | 13131053.1226 | 15521926.6581 | 15356711.7718
| Difference | 0 | 0 | 0

## 00 Acct Sumry
GENCO '00 Peakers LLC
Expense Analysis Summary
Summary
2000-03-31
'00 Peakers
|  | Gleason | Wheatland | Wilton
Source: 00 O&M analysis - 0001.xls
Mobilization |  | 845041 | 921914 | 858480
Operations & Maintenance: | Classification
O&M Expenses
Air Pollution Control System | Fixed | 19723 | 19745 | 19735
Feedwater System | Variable | 0 | 0 | 0
Fire Protection System | Fixed | 0 | 0 | 0
Demineralized Water System | Variable | 79695 | 106260 | 0
Wastewater System | Fixed | 0 | 0 | 0
Recirculating Water System | Fixed | 0 | 0 | 0
Building Utilities & HVAC System | Fixed | 2246 | 2246 | 2246
Electrical Distribution System | Fixed | 11929 | 11929 | 11929
Distributed Control System | Fixed | 4667 | 4667 | 4667
Plant Consumable Supplies | Fixed | 9654 | 9654 | 9654
Plant G&A | Fixed | 118140 | 118140 | 118140
Reimbursable Labor | Fixed | 444047 | 589750 | 458186
Tools & Equipment | Fixed | 11000 | 15550 | 11000
Utilities | Fixed | 92729 | 101885 | 198779
Instrument/Service Air | Fixed | 438 | 438 | 438
Gas T/G System | Variable | 139125 | 154000 | 308000
HRSG System | Variable | 0 | 0 | 0
Other - Non-Scope Costs | Fixed | 10208 | 10207 | 10208
Subtotal Other O&M |  | 943601 | 1144471 | 1152982
O&M Management Fee |  | 200000 | 200000 | 200000
Major Maintenance Accrual |  | 600000 | 600000 | 600000
Subtotal - Oper & Maint Expense |  | 1743601 | 1944471 | 1952982
Owner's Expense:
Insurance | Owners | 120686.5 | 111362.8333 | 155602.5
Property Taxes |  | 92225 | 101637 | 333700
Utilities | Owners | 0 | 0 | 0
Interconnection Fees | Owners | 49268.3333 | 49268.3333 | 60083.3333
Gas Pipeline Metering Cost | Owners | 18025 | 18025 | 18025
Misc | Owners | 0 | 0 | 0
Franchise Taxes | Owners | 0 | 0 | 0
Subtotal - Owner's Expense |  | 280204.8333 | 280293.1667 | 567410.8333
Total O&M excluding Capital Costs |  | 2868846.8333 | 3146678.1667 | 3378872.8333
Other Expense
Interest Expense |  | 0 | 0 | 0
Capital Charge, net of credit |  | 5491946 | 6096180 | 9322568
Depreciation Expense |  | 2448114 | 2676594 | 4015032
0
Subtotal - Other Expense |  | 7940060 | 8772774 | 13337600
Total O&M |  | 10808906.8333 | 11919452.1667 | 16716472.8333
| Check | 10808906.8333 | 11919452.1667 | 16716472.8333
| Difference | 0 | 0 | 0