## 0202
Clear Sky Project Operational Report For February 2002
Executive Summary
This interim report was generated to comply with the contractual monthly reporting requirement from the Windsystem, Operations, & Maintenance Agreement.
The description of outages, safety near miss events, accidents, infrastructure work, and maintenance records are not included in this interim report.
All other required components are provided below.
Operational Parameters
Site | Row | Pad | Reporting Month | kWh Generated | kWh Consumed | Net kWh Production | Capacity Factor | Availability1 | Operating Hrs
ClearSky | 1 | 001 | 2002-02-01 | 191941 | 1028 | 190913 | 19.04% | 94.59% | 635.6581
ClearSky | 1 | 002 | 2002-02-01 | 219688 | 790 | 218898 | 21.79% | 99.59% | 669.2743
ClearSky | 1 | 003 | 2002-02-01 | 200828 | 1782 | 199046 | 19.92% | 99.76% | 670.3848
ClearSky | 1 | 004 | 2002-02-01 | 195687 | 867 | 194820 | 19.41% | 94.8% | 637.0279
ClearSky | 1 | 005 | 2002-02-01 | 171906 | 883 | 171023 | 17.05% | 86.71% | 582.7069
ClearSky | 1 | 007 | 2002-02-01 | 206613 | 1006 | 205607 | 20.5% | 96.16% | 646.1976
ClearSky | 1 | 008 | 2002-02-01 | 157590 | 1082 | 156508 | 15.63% | 88.29% | 593.3393
ClearSky | 1 | 009 | 2002-02-01 | 241195 | 572 | 240623 | 23.93% | 94.59% | 635.6291
ClearSky | 1 | 013 | 2002-02-01 | 161573 | 635 | 160938 | 16.03% | 92.36% | 620.6842
ClearSky | 1 | 014 | 2002-02-01 | 203040 | 282 | 202758 | 20.14% | 99.47% | 668.4283
ClearSky | 1 | 015 | 2002-02-01 | 195268 | 1538 | 193730 | 19.37% | 85.11% | 571.9638
ClearSky | 1 | 017 | 2002-02-01 | 89158 | 252 | 88906 | 8.845% | 98.67% | 663.0789
ClearSky | 1 | 018 | 2002-02-01 | 190141 | 477 | 189664 | 18.86% | 92.27% | 620.0813
ClearSky | 1 | 019 | 2002-02-01 | 177522 | 616 | 176906 | 17.61% | 95% | 638.421
ClearSky | 1 | 020 | 2002-02-01 | 223513 | 520 | 222993 | 22.17% | 95.8% | 643.8051
ClearSky | 1 | 021 | 2002-02-01 | 198038 | 558 | 197480 | 19.65% | 92.47% | 621.3653
ClearSky | 1 | 022 | 2002-02-01 | 205314 | 464 | 204850 | 20.37% | 98.16% | 659.6402
ClearSky | 1 | 023 | 2002-02-01 | 249154 | 271 | 248883 | 24.72% | 99.15% | 666.2654
ClearSky | 1 | 024 | 2002-02-01 | 163649 | 898 | 162751 | 16.24% | 70.41% | 473.1379
ClearSky | 1 | 025 | 2002-02-01 | 241362 | 287 | 241075 | 23.94% | 93.64% | 629.2417
ClearSky | 1 | 026 | 2002-02-01 | 238995 | 954 | 238041 | 23.71% | 97.45% | 654.8499
ClearSky | 1 | 027 | 2002-02-01 | 265585 | 1069 | 264516 | 26.35% | 99.08% | 665.799
ClearSky | 1 | 028 | 2002-02-01 | 330725 | 668 | 330057 | 32.81% | 99.31% | 667.3655
ClearSky | 1 | 029 | 2002-02-01 | 240435 | 796 | 239639 | 23.85% | 98.51% | 662.0046
ClearSky | 1 | 030 | 2002-02-01 | 220828 | 529 | 220299 | 21.91% | 97.15% | 652.8416
ClearSky | 1 | 031 | 2002-02-01 | 237174 | 527 | 236647 | 23.53% | 93.11% | 625.7086
ClearSky | 1 | 032 | 2002-02-01 | 197322 | 545 | 196777 | 19.58% | 91.63% | 615.7415
ClearSky | 1 | 033 | 2002-02-01 | 184520 | 870 | 183650 | 18.31% | 78% | 524.128
ClearSky | 1 | 034 | 2002-02-01 | 183218 | 576 | 182642 | 18.18% | 93.59% | 628.9118
ClearSky | 1 | 035 | 2002-02-01 | 266034 | 469 | 265565 | 26.39% | 91.91% | 617.6507
ClearSky | 1 | 036 | 2002-02-01 | 166238 | 722 | 165516 | 16.49% | 87.25% | 586.2918
ClearSky | 1 | 037 | 2002-02-01 | 210569 | 668 | 209901 | 20.89% | 84.02% | 564.6041
ClearSky | 1 | 038 | 2002-02-01 | 203768 | 644 | 203124 | 20.22% | 82.87% | 556.898
ClearSky | 1 | 039 | 2002-02-01 | 291435 | 629 | 290806 | 28.91% | 96.44% | 648.0641
ClearSky | 1 | 040 | 2002-02-01 | 181677 | 884 | 180793 | 18.02% | 86.97% | 584.4498
ClearSky | 1 | 041 | 2002-02-01 | 289129 | 852 | 288277 | 28.68% | 85.58% | 575.0803
ClearSky | 1 | 042 | 2002-02-01 | 324087 | 779 | 323308 | 32.15% | 94.8% | 637.0266
ClearSky | 1 | 043 | 2002-02-01 | 267305 | 948 | 266357 | 26.52% | 71.12% | 477.951
ClearSky | 1 | 044 | 2002-02-01 | 284784 | 584 | 284200 | 28.25% | 94.88% | 637.6115
ClearSky | 1 | 045 | 2002-02-01 | 246342 | 384 | 245958 | 24.44% | 83.57% | 561.6104
ClearSky | 1 | 046 | 2002-02-01 | 276432 | 580 | 275852 | 27.42% | 94.13% | 632.5408
ClearSky | 1 | 047 | 2002-02-01 | 262486 | 182 | 262304 | 26.04% | 98.11% | 659.2847
ClearSky | 1 | 049 | 2002-02-01 | 243015 | 284 | 242731 | 24.11% | 97.45% | 654.8462
ClearSky | 1 | 050 | 2002-02-01 | 231897 | 239 | 231658 | 23.01% | 88.83% | 596.911
ClearSky | 1 | 051 | 2002-02-01 | 209296 | 568 | 208728 | 20.76% | 95.38% | 640.9811
ClearSky | 1 | 052 | 2002-02-01 | 201797 | 1048 | 200749 | 20.02% | 77.11% | 518.1484
ClearSky | 1 | 053 | 2002-02-01 | 216512 | 545 | 215967 | 21.48% | 94.29% | 633.596
ClearSky | 1 | 054 | 2002-02-01 | 173575 | 1112 | 172463 | 17.22% | 71.35% | 479.5026
ClearSky | 1 | 055 | 2002-02-01 | 155874 | 404 | 155470 | 15.46% | 68.01% | 457.012
ClearSky | 1 | 056 | 2002-02-01 | 269805 | 1051 | 268754 | 26.77% | 93.28% | 626.8385
ClearSky | 1 | 057 | 2002-02-01 | 300508 | 745 | 299763 | 29.81% | 90.15% | 605.7769
ClearSky | 1 | 058 | 2002-02-01 | 277190 | 925 | 276265 | 27.5% | 95.05% | 638.7245
ClearSky | 1 | 059 | 2002-02-01 | 92081 | 298 | 91783 | 9.135% | 48.91% | 328.6949
ClearSky | 1 | 060 | 2002-02-01 | 152371 | 820 | 151551 | 15.12% | 69.41% | 466.4473
ClearSky | 1 | 061 | 2002-02-01 | 173761 | 721 | 173040 | 17.24% | 76.71% | 515.4879
ClearSky | 1 | 062 | 2002-02-01 | 234230 | 656 | 233574 | 23.24% | 98.56% | 662.344
ClearSky | 1 | 063 | 2002-02-01 | 145130 | 354 | 144776 | 14.4% | 91.78% | 616.759
ClearSky | 1 | 064 | 2002-02-01 | 217488 | 615 | 216873 | 21.58% | 89.73% | 602.9867
ClearSky | 1 | 065 | 2002-02-01 | 177638 | 701 | 176937 | 17.62% | 89.18% | 599.2633
ClearSky | 1 | 066 | 2002-02-01 | 194607 | 924 | 193683 | 19.31% | 90.25% | 606.4504
ClearSky | 1 | 067 | 2002-02-01 | 217157 | 830 | 216327 | 21.54% | 90.24% | 606.3944
ClearSky | 1 | 068 | 2002-02-01 | 212816 | 848 | 211968 | 21.11% | 79.81% | 536.3415
ClearSky | 1 | 069 | 2002-02-01 | 247870 | 581 | 247289 | 24.59% | 91.75% | 616.5431
ClearSky | 1 | 070 | 2002-02-01 | 235307 | 723 | 234584 | 23.34% | 89.64% | 602.3592
ClearSky | 1 | 071 | 2002-02-01 | 245600 | 630 | 244970 | 24.37% | 92.25% | 619.9248
ClearSky | 1 | 072 | 2002-02-01 | 228434 | 909 | 227525 | 22.66% | 90.56% | 608.5429
ClearSky | 1 | 073 | 2002-02-01 | 222299 | 687 | 221612 | 22.05% | 82.64% | 555.3207
ClearSky | 1 | 074 | 2002-02-01 | 217782 | 528 | 217254 | 21.61% | 75.57% | 507.849
ClearSky | 1 | 075 | 2002-02-01 | 231740 | 1280 | 230460 | 22.99% | 80.07% | 538.0422
ClearSky | 1 | 076 | 2002-02-01 | 214838 | 598 | 214240 | 21.31% | 83.51% | 561.1875
ClearSky | 1 | 077 | 2002-02-01 | 175487 | 754 | 174733 | 17.41% | 76.75% | 515.7767
ClearSky | 1 | 078 | 2002-02-01 | 207314 | 780 | 206534 | 20.57% | 84.87% | 570.3578
ClearSky | 1 | 079 | 2002-02-01 | 191862 | 649 | 191213 | 19.03% | 87.28% | 586.5529
ClearSky | 1 | 080 | 2002-02-01 | 242904 | 779 | 242125 | 24.1% | 72% | 483.8476
ClearSky | 1 | 081 | 2002-02-01 | 178144 | 686 | 177458 | 17.67% | 81.34% | 546.6354
ClearSky | 1 | 082 | 2002-02-01 | 223313 | 767 | 222546 | 22.15% | 83.46% | 560.8664
ClearSky | 1 | 083 | 2002-02-01 | 231124 | 713 | 230411 | 22.93% | 85.64% | 575.5201
ClearSky | 1 | 084 | 2002-02-01 | 179137 | 870 | 178267 | 17.77% | 73.5% | 493.9276
ClearSky | 1 | 085 | 2002-02-01 | 253626 | 639 | 252987 | 25.16% | 85.13% | 572.0642
ClearSky | 1 | 086 | 2002-02-01 | 166051 | 928 | 165123 | 16.47% | 55.05% | 369.9572
ClearSky | 1 | 087 | 2002-02-01 | 232603 | 843 | 231760 | 23.08% | 82.02% | 551.206
ClearSky | 1 | 088 | 2002-02-01 | 255983 | 716 | 255267 | 25.4% | 86.75% | 582.9545
ClearSky | 1 | 089 | 2002-02-01 | 216998 | 662 | 216336 | 21.53% | 93.76% | 630.0517
ClearSky | 1 | 090 | 2002-02-01 | 136176 | 1206 | 134970 | 13.51% | 56.57% | 380.1195
ClearSky | 1 | 091 | 2002-02-01 | 129445 | 981 | 128464 | 12.84% | 60.62% | 407.3847
ClearSky | 1 | 092 | 2002-02-01 | 278531 | 778 | 277753 | 27.63% | 84.85% | 570.1705
ClearSky | 1 | 093 | 2002-02-01 | 239213 | 612 | 238601 | 23.73% | 82.26% | 552.8034
ClearSky | 1 | 096 | 2002-02-01 | 298642 | 746 | 297896 | 29.63% | 96.79% | 650.4494
ClearSky | 1 | 100 | 2002-02-01 | 282934 | 812 | 282122 | 28.07% | 75.8% | 509.3904
ClearSky | 1 | 102 | 2002-02-01 | 286804 | 582 | 286222 | 28.45% | 80.19% | 538.892
ClearSky | 1 | 103 | 2002-02-01 | 318212 | 642 | 317570 | 31.57% | 83.71% | 562.5393
ClearSky | 1 | 104 | 2002-02-01 | 181104 | 819 | 180285 | 17.97% | 76.62% | 514.8918
ClearSky | 1 | 105 | 2002-02-01 | 196699 | 1056 | 195643 | 19.51% | 76.16% | 511.8147
ClearSky | 1 | 106 | 2002-02-01 | 199353 | 1288 | 198065 | 19.78% | 64.98% | 436.6798
ClearSky | 1 | 107 | 2002-02-01 | 249741 | 679 | 249062 | 24.78% | 67.59% | 454.1791
ClearSky | 1 | 108 | 2002-02-01 | 160697 | 1232 | 159465 | 15.94% | 53.68% | 360.7585
ClearSky | 1 | 109 | 2002-02-01 | 317307 | 167 | 317140 | 31.48% | 96.58% | 649.0106
ClearSky | 1 | 113 | 2002-02-01 | 231238 | 816 | 230422 | 22.94% | 70.97% | 476.9227
ClearSky | 1 | 114 | 2002-02-01 | 227379 | 1394 | 225985 | 22.56% | 75.5% | 507.3373
ClearSky | 1 | 115 | 2002-02-01 | 290713 | 757 | 289956 | 28.84% | 79.15% | 531.8796
ClearSky | 1 | 116 | 2002-02-01 | 221840 | 986 | 220854 | 22.01% | 70.7% | 475.1092
ClearSky | 1 | 117 | 2002-02-01 | 189257 | 819 | 188438 | 18.78% | 60.32% | 405.3813
ClearSky | 1 | 118 | 2002-02-01 | 248491 | 587 | 247904 | 24.65% | 82.46% | 554.1276
ClearSky | 1 | 119 | 2002-02-01 | 269431 | 650 | 268781 | 26.73% | 97.32% | 653.9643
ClearSky | 1 | 120 | 2002-02-01 | 211588 | 933 | 210655 | 20.99% | 83.23% | 559.3219
ClearSky | 1 | 121 | 2002-02-01 | 139950 | 966 | 138984 | 13.88% | 38.92% | 261.5129
ClearSky | 1 | 122 | 2002-02-01 | 363516 | 801 | 362715 | 36.06% | 90.1% | 605.472
|  | Project, Before line losses | 2002-02-01 | 23615693 | 79386 | 23536307 | 21.9% | 85.05% | 61155.852
|  | Assumed 2% Line Loss | 37288 | 472313.86 | 1587.72 | 470726.14
|  | Project, After line losses | 37288 | 23143379.14 | 77798.28 | 23065580.86 | 0.21458 | 0.85052 | 61155.852
|  | Project, After line losses | Year To Date | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Notes:
1) Availability is based on Visupro Mon file instead of data displayed on Visupro screen. Turbines 3,8,36,52, and 54 corrected for meter resets.
2) Turbines 3, 8, 36, 52, and 54 were corrected to compensate for unexpected meter resets.
Clear Sky
GRID VARIANCE
Chargeable to: A=AEP, N=Force Majeure, E=Enron, W= ABB
Month: | 2002-02-02 |  |  | Reason: U=unscheduled outage, S= scheduled outage, F=fluctuation
Charge | Date off | Time off | Date on | Time on | Hrs. | 138/69 KV | Reason | Comments
W | 2002-02-12 | 13:30 | 2002-02-12 | 2:15 PM | 0.75 | 69 | U | Leak on 69 KV transformer
E | 2002-02-20 | 9:00 | 2002-02-20 | 17:20 | 8.3333 | 138 | S | Tie buss installation, not completed high winds
E | 2002-02-23 | 8:00 | 2002-02-23 | 14:30 | 6.5 | 138 | S | Complete tie bus welding.
E | 2002-02-28 | 8:00 | 2002-02-28 | 19:00 | 11 | 69 | S | Completion on lien items against site.
Note on D119: Suggested Repair:0.02*D118 Suggested Value:745.76
Note on D120: Suggested Repair:D118-D119 Suggested Value:0.0
Note on H120: Suggested Repair:H118-H119 Suggested Value:0.21895576509419976
Note on I120: Suggested Repair:I118-I119
Note on J120: Suggested Repair:J118-J119